## Western Loads MW Calculations
Sources
2024-2029 Western CDM Plan_signed.pdf
Microsoft Word - 001a Bud Doc 2025-26 -- Operating and Capital Budget -- Draft March 27, 2025
Building Info / Floor Plans - Facilities Management - Western University
Hours in a year | 8760
Building | m^2 | kwh/m^2 | kwh (year) | kw | mw | cost
ACEB | 9635 | 150.04 | 1445635.4 | 165.0269 | 0.16503 | 205280.2268
Entrepreneurship | 9710 | 150.04 | 1456888.4 | 166.3115 | 0.16631 | 206878.1528
Health Sci | 7657 | 150.04 | 1148856.28 | 131.148 | 0.13115 | 163137.5918
FIMS | 12917 | 150.04 | 1938066.68 | 221.2405 | 0.22124 | 275205.4686
Power Plant | 2275 | 150.04 | 341341 | 38.9659 | 0.038966 | 48470.422
UC | 10919 | 150.04 | 1638286.76 | 187.019 | 0.18702 | 232636.7199
Peak Load (MW) | 10
Savings % | 2.94%
Savings (MW) | 0.294
Savings (kW) | 294

## Dx Feeder Cost Savings
Hour | Price - TOU | Hourly Load % of Peak | Constant Z Load - Avg |  |  | Constant I Load |  |  | ZIP - Residential |  |  | ZIP - Commerical |  |  | ZIP - Average |  |  | All Load Types - Average
| cents/kWh | % | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings
1 | 9.8 | 77.16% | -0.41674 | 5.401% | -40.8406 | -0.21522 | 2.789% | -21.0918 | -0.22161 | -2.872% | -21.718 | -0.21127 | -2.738% | -20.7042 | -0.21644 | -2.805% | -21.2111 | -0.26621 | -3.45% | -26.0886
2 | 9.8 | 75.17% | -0.43828 | 5.832% | -42.9512 | -0.227 | 3.02% | -22.246 | -0.23291 | -3.098% | -22.8249 | -0.22227 | -2.957% | -21.782 | -0.22759 | -3.028% | -22.3035 | -0.28011 | -3.727% | -27.451
3 | 9.8 | 74.07% | -0.43456 | 5.867% | -42.5864 | -0.225 | 3.038% | -22.05 | -0.23092 | -3.118% | -22.6302 | -0.22039 | -2.975% | -21.598 | -0.22565 | -3.047% | -22.1141 | -0.27772 | -3.749% | -27.2162
4 | 9.8 | 73.98% | -0.43417 | 5.87% | -42.5483 | -0.22483 | 3.039% | -22.0337 | -0.23076 | -3.119% | -22.6141 | -0.22023 | -2.977% | -21.5827 | -0.22549 | -3.048% | -22.0984 | -0.2775 | -3.751% | -27.1947
5 | 9.8 | 75.63% | -0.44011 | 5.818% | -43.1309 | -0.21278 | 2.813% | -20.8522 | -0.23372 | -3.09% | -22.905 | -0.22304 | -2.949% | -21.8578 | -0.22838 | -3.02% | -22.3814 | -0.27741 | -3.668% | -27.1865
6 | 9.8 | 79.86% | -0.42433 | 5.315% | -41.5847 | -0.21928 | 2.746% | -21.4892 | -0.22557 | -2.825% | -22.1057 | -0.21499 | -2.692% | -21.0689 | -0.22028 | -2.758% | -21.5873 | -0.27104 | -3.394% | -26.5621
7 | 9.8 | 86.26% | -0.44035 | 5.105% | -43.1545 | -0.22737 | 2.636% | -22.2823 | -0.23388 | -2.711% | -22.9206 | -0.22257 | -2.58% | -21.8122 | -0.22823 | -2.646% | -22.3664 | -0.28104 | -3.258% | -27.5424
8 | 20.3 | 90.59% | -0.41415 | 4.573% | -84.0721 | -0.21413 | 2.364% | -43.4683 | -0.21981 | -2.426% | -44.6219 | -0.20906 | -2.308% | -42.4389 | -0.21444 | -2.367% | -43.5304 | -0.26429 | -2.918% | -53.6503
9 | 20.3 | 91.81% | -0.4107 | 4.473% | -83.3729 | -0.19557 | 2.13% | -39.7015 | -0.21777 | -2.372% | -44.2075 | -0.2023 | -2.203% | -41.0669 | -0.21004 | -2.288% | -42.6372 | -0.25659 | -2.795% | -52.0872
10 | 20.3 | 92.3% | -0.39413 | 4.27% | -80.0083 | -0.19256 | 2.086% | -39.0888 | -0.20861 | -2.26% | -42.3478 | -0.19108 | -2.07% | -38.7898 | -0.19985 | -2.165% | -40.5688 | -0.24659 | -2.672% | -50.0587
11 | 20.3 | 92.61% | -0.37181 | 4.015% | -75.4784 | -0.18987 | 2.05% | -38.5437 | -0.19699 | -2.127% | -39.9882 | -0.18741 | -2.024% | -38.0434 | -0.1922 | -2.075% | -39.0158 | -0.23652 | -2.554% | -48.0134
12 | 15.7 | 92.92% | -0.36681 | 3.947% | -57.5899 | -0.18711 | 2.014% | -29.3764 | -0.19425 | -2.09% | -30.4967 | -0.18274 | -1.967% | -28.6905 | -0.18849 | -2.029% | -29.5936 | -0.23273 | -2.504% | -36.5384
13 | 15.7 | 93.22% | -0.3645 | 3.91% | -57.2265 | -0.18854 | 2.022% | -29.6003 | -0.19503 | -2.092% | -30.6201 | -0.18355 | -1.969% | -28.8179 | -0.18929 | -2.031% | -29.719 | -0.23291 | -2.498% | -36.5662
14 | 15.7 | 93.38% | -0.36704 | 3.93% | -57.6248 | -0.19004 | 2.035% | -29.8358 | -0.1941 | -2.079% | -30.4743 | -0.18479 | -1.979% | -29.0113 | -0.18944 | -2.029% | -29.7428 | -0.23399 | -2.506% | -36.7366
15 | 15.7 | 94.04% | -0.37369 | 3.974% | -58.6686 | -0.19283 | 2.051% | -30.2748 | -0.19795 | -2.105% | -31.0783 | -0.18821 | -2.001% | -29.5483 | -0.19308 | -2.053% | -30.3133 | -0.23817 | -2.533% | -37.3925
16 | 15.7 | 95.94% | -0.37913 | 3.952% | -59.5234 | -0.19587 | 2.042% | -30.7516 | -0.20084 | -2.093% | -31.5325 | -0.19092 | -1.99% | -29.9751 | -0.19588 | -2.042% | -30.7538 | -0.24169 | -2.519% | -37.9457
17 | 15.7 | 98.83% | -0.38293 | 3.875% | -60.1194 | -0.19717 | 1.995% | -30.9552 | -0.20293 | -2.053% | -31.8599 | -0.19267 | -1.949% | -30.2484 | -0.1978 | -2.001% | -31.0542 | -0.24392 | -2.468% | -38.2957
18 | 20.3 | 100% | -0.38426 | 3.843% | -78.0046 | -0.19806 | 1.981% | -40.2053 | -0.2036 | -2.036% | -41.3306 | -0.19328 | -1.933% | -39.2364 | -0.19844 | -1.984% | -40.2835 | -0.2448 | -2.448% | -49.6942
19 | 20.3 | 99.66% | -0.38476 | 3.861% | -78.1061 | -0.19813 | 1.988% | -40.2203 | -0.20386 | -2.046% | -41.3843 | -0.19353 | -1.942% | -39.2871 | -0.1987 | -1.994% | -40.3357 | -0.24507 | -2.459% | -49.7494
20 | 9.8 | 98.57% | -0.38494 | 3.905% | -37.7246 | -0.19822 | 2.011% | -19.4258 | -0.20401 | -2.07% | -19.9926 | -0.19368 | -1.965% | -18.9802 | -0.19884 | -2.017% | -19.4864 | -0.24521 | -2.488% | -24.0308
21 | 9.8 | 96.2% | -0.38472 | 4% | -37.7028 | -0.19822 | 2.061% | -19.4258 | -0.20407 | -2.121% | -19.9984 | -0.19375 | -2.014% | -18.9876 | -0.19891 | -2.068% | -19.493 | -0.24519 | -2.549% | -24.0286
22 | 9.8 | 91.39% | -0.41644 | 4.557% | -40.8116 | -0.20983 | 2.296% | -20.5637 | -0.22105 | -2.419% | -21.6632 | -0.21017 | -2.3% | -20.5967 | -0.21561 | -2.359% | -21.1299 | -0.26438 | -2.893% | -25.9088
23 | 9.8 | 85.47% | -0.43872 | 5.133% | -42.9948 | -0.22672 | 2.653% | -22.2188 | -0.23285 | -2.724% | -22.8189 | -0.22202 | -2.598% | -21.7576 | -0.22743 | -2.661% | -22.2883 | -0.28008 | -3.277% | -27.4475
24 | 9.8 | 80.47% | -0.42611 | 5.295% | -41.7589 | -0.22028 | 2.737% | -21.5872 | -0.22642 | -2.814% | -22.1894 | -0.21579 | -2.682% | -21.1476 | -0.22111 | -2.748% | -21.6685 | -0.27215 | -3.382% | -26.6708
Total daily savings |  |  | Using tiered |  | -1327.5841 |  |  | -677.2885 |  |  | -704.3228 |  |  | -667.0294 |  |  | -685.6761 |  |  | -844.0562
Average annualized savings |  |  | -501371.7461 |  | -483240.6232 | -256280.1537 |  | -246533.0275 | -266069.9372 |  | -256373.5081 | -252396.3326 |  | -242798.7051 | -259233.1349 |  | -249586.1066 | -319029.5424 |  | -307236.466
*Note that these values are the AVERAGE of all simulations done for that load type | [17 empty] | Average | -2.936%
*We can make more graphs and cost savings calculations with more filters (such as specific PV bus, specific PF, etc) |  |  |  |  | Load Type | Constant Z Load | Constant I Load | ZIP - Res. | ZIP - Comm. | Zip - Average | All Load Types Average
[5 empty] | Total daily savings | -1327.5841 | -677.2885 | -704.3228 | -667.0294 | -685.6761 | -844.0562
Electricity rates ¦ Ontario Energy Board |  |  |  |  | Average annualized savings | -483240.6232 | -246533.0275 | -256373.5081 | -242798.7051 | -249586.1066 | -307236.466

## IEEE 14-Bus Cost Savings
Hour | Price - TOU | Hourly Load % of Peak | Two Small + 1 Medium PV Farms |  |  | Two Small + 1 Medium PV Farms |  |  | Two Small + 1 Medium PV Farms |  |  | One large PV Farm |  |  | One large PV Farm |  |  | One large PV Farm |  |  | Three small PV Farms |  |  | Three small PV Farms |  |  | Three small PV Farms |  |  | All Load Types - Average |  |  | All Load Types - Average |  |  | All Load Types - Average
|  |  | Bus 4 = 52.632 MVAR |  |  | Bus 9 = 10.526 MVAR |  |  | Bus 14 = 10.526 MVAR |  |  | Bus 4 = 105.263 MVAR |  |  | Bus 9 = 0 MVAR |  |  | Bus 14 = 0 MVAR |  |  | Bus 4 = 10.526 MVAR |  |  | Bus 9 = 10.526 MVAR |  |  | Bus 14 = 10.526 MVAR |  |  | Bus 4 |  |  | Bus 9 |  |  | Bus 14
| cents/kWh | % | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings | MW Reduction | % Reduction | $ savings
1 | 9.8 | 77.16% | -1.0923 |  | -107.0447 | -0.6307 |  | -61.8087 | -0.40576 |  | -39.7649 | -1.7341 |  | -169.937 | -0.41671 |  | -40.8379 | -0.13125 |  | -12.8623 | -0.38977 |  | -38.1975 | -0.44855 |  | -43.9576 | -0.3474 |  | -34.0455 | -1.072 |  | -105.0597 | -0.49865 |  | -48.8681 | -0.2948 |  | -28.8909
2 | 9.8 | 75.17% | -1.0631 |  | -104.18 | -0.61417 |  | -60.1889 | -0.395 |  | -38.7096 | -1.7136 |  | -167.9295 | -0.41269 |  | -40.4439 | -0.13017 |  | -12.7568 | -0.37919 |  | -37.1609 | -0.43675 |  | -42.8012 | -0.33811 |  | -33.1344 | -1.0519 |  | -103.0901 | -0.48787 |  | -47.8113 | -0.28776 |  | -28.2003
3 | 9.8 | 74.07% | -1.0435 |  | -102.2584 | -0.60416 |  | -59.2077 | -0.38877 |  | -38.0999 | -1.698 |  | -166.4064 | -0.40924 |  | -40.1058 | -0.12912 |  | -12.6533 | -0.36987 |  | -36.2472 | -0.42936 |  | -42.0774 | -0.33272 |  | -32.6067 | -1.0371 |  | -101.6373 | -0.48092 |  | -47.1303 | -0.28354 |  | -27.7866
4 | 9.8 | 73.98% | -1.0419 |  | -102.1021 | -0.60334 |  | -59.1275 | -0.38827 |  | -38.0502 | -1.6967 |  | -166.2801 | -0.40896 |  | -40.0777 | -0.12903 |  | -12.6448 | -0.3691 |  | -36.172 | -0.42876 |  | -42.0183 | -0.33228 |  | -32.5635 | -1.0359 |  | -101.5181 | -0.48035 |  | -47.0745 | -0.28319 |  | -27.7528
5 | 9.8 | 75.63% | -1.0703 |  | -104.8846 | -0.6181 |  | -60.5743 | -0.39752 |  | -38.9566 | -1.7189 |  | -168.4517 | -0.41383 |  | -40.5557 | -0.13051 |  | -12.7903 | -0.38206 |  | -37.4424 | -0.43957 |  | -43.078 | -0.34028 |  | -33.347 | -1.0571 |  | -103.5929 | -0.4905 |  | -48.0693 | -0.28944 |  | -28.3646
6 | 9.8 | 79.86% | -1.1312 |  | -110.8556 | -0.6529 |  | -63.9846 | -0.42031 |  | -41.1907 | -1.7584 |  | -172.3217 | -0.42202 |  | -41.358 | -0.13311 |  | -13.0446 | -0.40316 |  | -39.5093 | -0.46429 |  | -45.5009 | -0.35993 |  | -35.2731 | -1.0976 |  | -107.5622 | -0.51307 |  | -50.2812 | -0.30445 |  | -29.8361
7 | 9.8 | 86.26% | -1.2647 |  | -123.9441 | -0.71594 |  | -70.1624 | -0.458 |  | -44.8842 | -1.8034 |  | -176.7319 | -0.43034 |  | -42.1735 | -0.13558 |  | -13.2864 | -0.43453 |  | -42.5843 | -0.50112 |  | -49.1097 | -0.38932 |  | -38.1534 | -1.1676 |  | -114.4201 | -0.54913 |  | -53.8152 | -0.32763 |  | -32.108
8 | 20.3 | 90.59% | -1.3755 |  | -279.2179 | -0.75827 |  | -153.9296 | -0.48037 |  | -97.5151 | -1.8233 |  | -370.1275 | -0.43325 |  | -87.9506 | -0.13638 |  | -27.6854 | -0.45157 |  | -91.6688 | -0.51922 |  | -105.4021 | -0.40394 |  | -81.9996 | -1.2168 |  | -247.0047 | -0.57025 |  | -115.7608 | -0.34023 |  | -69.0667
9 | 20.3 | 91.81% | -1.3537 |  | -274.8047 | -0.74003 |  | -150.226 | -0.46807 |  | -95.0185 | -1.8273 |  | -370.9429 | -0.43366 |  | -88.0339 | -0.13648 |  | -27.7058 | -0.44458 |  | -90.2505 | -0.50504 |  | -102.5233 | -0.39301 |  | -79.7807 | -1.2085 |  | -245.3327 | -0.55958 |  | -113.5944 | -0.33252 |  | -67.5017
10 | 20.3 | 92.3% | -1.2863 |  | -261.1241 | -0.69973 |  | -142.0454 | -0.4429 |  | -89.9084 | -1.8287 |  | -371.2302 | -0.43357 |  | -88.0143 | -0.13631 |  | -27.6713 | -0.42891 |  | -87.0678 | -0.47835 |  | -97.1052 | -0.37224 |  | -75.5642 | -1.1813 |  | -239.8074 | -0.53722 |  | -109.055 | -0.31715 |  | -64.3813
11 | 20.3 | 92.61% | -1.211 |  | -245.8404 | -0.65596 |  | -133.1589 | -0.41576 |  | -84.3996 | -1.8128 |  | -367.9917 | -0.42949 |  | -87.1871 | -0.13515 |  | -27.4352 | -0.41182 |  | -83.5986 | -0.44978 |  | -91.3062 | -0.35 |  | -71.0501 | -1.1452 |  | -232.4769 | -0.51174 |  | -103.8841 | -0.3003 |  | -60.9616
12 | 15.7 | 92.92% | -1.1723 |  | -184.0482 | -0.63263 |  | -99.3236 | -0.40116 |  | -62.9817 | -1.7347 |  | -272.346 | -0.40913 |  | -64.2336 | -0.12874 |  | -20.2116 | -0.40265 |  | -63.2165 | -0.43417 |  | -68.1639 | -0.33786 |  | -53.0446 | -1.1032 |  | -173.2035 | -0.49198 |  | -77.2403 | -0.28925 |  | -45.4127
13 | 15.7 | 93.22% | -1.1947 |  | -187.5652 | -0.64364 |  | -101.051 | -0.40761 |  | -63.9942 | -1.7654 |  | -277.1726 | -0.41693 |  | -65.458 | -0.13118 |  | -20.5953 | -0.40695 |  | -63.8906 | -0.44047 |  | -69.1542 | -0.34281 |  | -53.8213 | -1.1224 |  | -176.2095 | -0.50035 |  | -78.5544 | -0.29387 |  | -46.137
14 | 15.7 | 93.38% | -1.2227 |  | -191.9705 | -0.6586 |  | -103.4003 | -0.41664 |  | -65.4124 | -1.8092 |  | -284.0519 | -0.42819 |  | -67.2251 | -0.13472 |  | -21.1507 | -0.41283 |  | -64.815 | -0.4497 |  | -70.6036 | -0.35002 |  | -54.9537 | -1.1483 |  | -180.2791 | -0.51216 |  | -80.4097 | -0.30046 |  | -47.1723
15 | 15.7 | 94.04% | -1.3085 |  | -205.442 | -0.70329 |  | -110.4167 | -0.44339 |  | -69.6124 | -1.8328 |  | -287.7481 | -0.43376 |  | -68.101 | -0.13635 |  | -21.4068 | -0.43026 |  | -67.5511 | -0.47663 |  | -74.8303 | -0.37108 |  | -58.2601 | -1.1905 |  | -186.9137 | -0.53789 |  | -84.4493 | -0.31694 |  | -49.7598
16 | 15.7 | 95.94% | -1.4444 |  | -226.7706 | -0.76955 |  | -120.8191 | -0.48216 |  | -75.6985 | -1.8349 |  | -288.073 | -0.4335 |  | -68.06 | -0.13632 |  | -21.4025 | -0.45529 |  | -71.4805 | -0.51408 |  | -80.7104 | -0.40062 |  | -62.8977 | -1.2448 |  | -195.4414 | -0.57238 |  | -89.8632 | -0.3397 |  | -53.3329
17 | 15.7 | 98.83% | -1.6108 |  | -252.9025 | -0.84672 |  | -132.9357 | -0.52642 |  | -82.6477 | -1.8353 |  | -288.1464 | -0.43216 |  | -67.849 | -0.13582 |  | -21.3234 | -0.4892 |  | -76.8045 | -0.55681 |  | -87.4194 | -0.43387 |  | -68.1179 | -1.3118 |  | -205.9511 | -0.6119 |  | -96.0681 | -0.36537 |  | -57.363
18 | 20.3 | 100% | -1.6931 |  | -343.6962 | -0.88603 |  | -179.8632 | -0.54923 |  | -111.4941 | -1.8343 |  | -372.3623 | -0.4313 |  | -87.5541 | -0.13552 |  | -27.5096 | -0.52701 |  | -106.9822 | -0.58449 |  | -118.6518 | -0.45297 |  | -91.9529 | -1.3515 |  | -274.3469 | -0.63394 |  | -128.6897 | -0.37924 |  | -76.9855
19 | 20.3 | 99.66% | -1.6922 |  | -343.515 | -0.88756 |  | -180.1743 | -0.55056 |  | -111.7645 | -1.8347 |  | -372.4374 | -0.43157 |  | -87.6091 | -0.13561 |  | -27.5286 | -0.52235 |  | -106.0371 | -0.58499 |  | -118.7523 | -0.45395 |  | -92.1515 | -1.3497 |  | -273.9965 | -0.63471 |  | -128.8452 | -0.38004 |  | -77.1482
20 | 9.8 | 98.57% | -1.6556 |  | -162.2501 | -0.8734 |  | -85.5934 | -0.5431 |  | -53.2238 | -1.8355 |  | -179.8755 | -0.43233 |  | -42.3679 | -0.13588 |  | -13.316 | -0.49831 |  | -48.8348 | -0.57402 |  | -56.254 | -0.44747 |  | -43.8518 | -1.3298 |  | -130.3201 | -0.62658 |  | -61.4051 | -0.37548 |  | -36.7972
21 | 9.8 | 96.2% | -1.5759 |  | -154.4417 | -0.84203 |  | -82.5185 | -0.52639 |  | -51.5863 | -1.8351 |  | -179.8378 | -0.43342 |  | -42.4754 | -0.13629 |  | -13.3562 | -0.48333 |  | -47.3659 | -0.55932 |  | -54.8138 | -0.43605 |  | -42.7325 | -1.2981 |  | -127.2151 | -0.61159 |  | -59.9359 | -0.36624 |  | -35.8917
22 | 9.8 | 91.39% | -1.4215 |  | -139.3071 | -0.78024 |  | -76.4634 | -0.49313 |  | -48.3267 | -1.826 |  | -178.948 | -0.43355 |  | -42.4875 | -0.13645 |  | -13.3724 | -0.46016 |  | -45.0956 | -0.53143 |  | -52.0801 | -0.41357 |  | -40.5297 | -1.2359 |  | -121.1169 | -0.58174 |  | -57.0103 | -0.34772 |  | -34.0763
23 | 9.8 | 85.47% | -1.2432 |  | -121.829 | -0.70721 |  | -69.307 | -0.45325 |  | -44.4181 | -1.7988 |  | -176.284 | -0.42957 |  | -42.098 | -0.13535 |  | -13.2643 | -0.43095 |  | -42.2331 | -0.49703 |  | -48.7088 | -0.38604 |  | -37.8322 | -1.1576 |  | -113.4487 | -0.5446 |  | -53.3713 | -0.32488 |  | -31.8382
24 | 9.8 | 80.47% | -1.14 |  | -111.7181 | -0.65792 |  | -64.4764 | -0.42361 |  | -41.5135 | -1.7635 |  | -172.8182 |  |  | 0 | -0.13341 |  | -13.0741 | -0.40619 |  | -39.8065 | -0.46785 |  | -45.8495 | -0.36277 |  | -35.5514 | -1.1032 |  | -108.1143 | -0.56289 |  | -55.1629 | -0.3066 |  | -30.0463
Total daily savings |  |  |  |  | -4441.7129 |  |  | -2420.7566 |  |  | -1529.1717 |  |  | -5998.4517 |  |  | -1382.2571 |  |  | -448.0475 |  |  | -1464.0127 |  |  | -1650.872 |  |  | -1283.2154 |  |  | -3968.0591 |  |  | -1836.3496 |  |  | -1086.8115
Average annualized savings |  |  | -1622710.574 |  | -1621225.1939 | -890550.3344 |  | -883576.1654 | -563774.3033 |  | -558147.6562 | -2226370.201 |  | -2189434.8546 | -507373.8317 |  | -504523.8447 | -166618.2832 |  | -163537.3555 | -538516.041 |  | -534364.6387 | -610131.803 |  | -602568.2782 | -474156.818 |  | -468373.6141 | -1462532.272 |  | -1448341.5624 | -679076.8041 |  | -670267.5877 | -401516.4682 |  | -396686.2086
*Note that these values are the AVERAGE of all simulations done for that load type
*We can make more graphs and cost savings calculations with more filters (such as specific PV bus, specific PF, etc)
Annualized % savings based on MW reduction by situation and bus
Electricity rates ¦ Ontario Energy Board | [6 empty] | Two small + 1 med | 1 large | 3 small | Average
[6 empty] | Bus 4 | -1621225.1939 | -2189434.8546 | -534364.6387 | -1448341.5624
[6 empty] | Bus 9 | -883576.1654 | -504523.8447 | -602568.2782 | -663556.0961
[6 empty] | Bus 14 | -558147.6562 | -163537.3555 | -468373.6141 | -396686.2086
[6 empty] | Total | -3062949.0156 | -2857496.0547 | -1605306.5309
[6 empty] | Average | -2508583.8671
[7 empty] | Two small + 1 med | 1 large | 3 small | Average
[6 empty] | Bus 4 | -4441.7129 | -5998.4517 | -1464.0127 | -3968.0591
[6 empty] | Bus 9 | -2420.7566 | -1382.2571 | -1650.872 | -1817.9619
[6 empty] | Bus 14 | -1529.1717 | -448.0475 | -1283.2154 | -1086.8115
[6 empty] | Total | -8391.6411 | -7828.7563 | -4398.1001
[6 empty] | Average | -6872.8325

## IEEE 14-bus MW reduction data
Situation | Two small, 1 medium PV - SUNNY |  |  | Two small, 1 medium PV - CLOUDY |  |  | Two small, 1 medium PV - AVG |  |  |  | One large PV - SUNNY |  |  | One large PV - CLOUDY |  |  | One large PV - AVG |  |  | Three small PVs - SUNNY |  |  | Three small PVs - Cloudy |  |  | Three small PVs - AVG
| % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction
hour | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14
1 | -1.0923 | -0.6307 | -0.40576 | -1.0923 | -0.6307 | -0.40576 | -1.0923 | -0.6307 | -0.40576 | -1.7341 | -0.41671 | -0.13125 | -1.7341 | -0.41671 | -0.13125 | -1.7341 | -0.41671 | -0.13125 | -0.38977 | -0.44855 | -0.3474 | -0.38977 | -0.44855 | -0.3474 | -0.38977 | -0.44855 | -0.3474
2 | -1.0631 | -0.61417 | -0.395 | -1.0631 | -0.61417 | -0.395 | -1.0631 | -0.61417 | -0.395 | -1.7136 | -0.41269 | -0.13017 | -1.7136 | -0.41269 | -0.13017 | -1.7136 | -0.41269 | -0.13017 | -0.37919 | -0.43675 | -0.33811 | -0.37919 | -0.43675 | -0.33811 | -0.37919 | -0.43675 | -0.33811
3 | -1.0435 | -0.60416 | -0.38877 | -1.0435 | -0.60416 | -0.38877 | -1.0435 | -0.60416 | -0.38877 | -1.698 | -0.40924 | -0.12912 | -1.698 | -0.40924 | -0.12912 | -1.698 | -0.40924 | -0.12912 | -0.36987 | -0.42936 | -0.33272 | -0.36987 | -0.42936 | -0.33272 | -0.36987 | -0.42936 | -0.33272
4 | -1.0419 | -0.60334 | -0.38827 | -1.0419 | -0.60334 | -0.38827 | -1.0419 | -0.60334 | -0.38827 | -1.6967 | -0.40896 | -0.12903 | -1.6967 | -0.40896 | -0.12903 | -1.6967 | -0.40896 | -0.12903 | -0.3691 | -0.42876 | -0.33228 | -0.3691 | -0.42876 | -0.33228 | -0.3691 | -0.42876 | -0.33228
5 | -1.0703 | -0.6181 | -0.39752 | -1.0703 | -0.6181 | -0.39752 | -1.0703 | -0.6181 | -0.39752 | -1.7189 | -0.41383 | -0.13051 | -1.7189 | -0.41383 | -0.13051 | -1.7189 | -0.41383 | -0.13051 | -0.38206 | -0.43957 | -0.34028 | -0.38206 | -0.43957 | -0.34028 | -0.38206 | -0.43957 | -0.34028
6 | -1.1312 | -0.6529 | -0.42031 | -1.1312 | -0.6529 | -0.42031 | -1.1312 | -0.6529 | -0.42031 | -1.7584 | -0.42202 | -0.13311 | -1.7584 | -0.42202 | -0.13311 | -1.7584 | -0.42202 | -0.13311 | -0.40316 | -0.46429 | -0.35993 | -0.40316 | -0.46429 | -0.35993 | -0.40316 | -0.46429 | -0.35993
7 | -1.2633 | -0.71513 | -0.45751 | -1.2662 | -0.71675 | -0.4585 | -1.2647 | -0.71594 | -0.458 | -1.8034 | -0.43034 | -0.13558 | -1.8034 | -0.43034 | -0.13558 | -1.8034 | -0.43034 | -0.13558 | -0.43422 | -0.50061 | -0.38892 | -0.43484 | -0.50163 | -0.38972 | -0.43453 | -0.50112 | -0.38932
8 | -1.3543 | -0.74638 | -0.47307 | -1.3966 | -0.77017 | -0.48767 | -1.3755 | -0.75827 | -0.48037 | -1.8233 | -0.43325 | -0.13638 | -1.8233 | -0.43325 | -0.13638 | -1.8233 | -0.43325 | -0.13638 | -0.44696 | -0.5117 | -0.39806 | -0.45618 | -0.52675 | -0.40982 | -0.45157 | -0.51922 | -0.40394
9 | -1.2728 | -0.69451 | -0.44014 | -1.4347 | -0.78555 | -0.496 | -1.3537 | -0.74003 | -0.46807 | -1.8273 | -0.43367 | -0.13649 | -1.8273 | -0.43366 | -0.13648 | -1.8273 | -0.43366 | -0.13648 | -0.42694 | -0.47621 | -0.37049 | -0.46223 | -0.53387 | -0.41553 | -0.44458 | -0.50504 | -0.39301
10 | -1.1241 | -0.60855 | -0.38696 | -1.4486 | -0.79091 | -0.49884 | -1.2863 | -0.69973 | -0.4429 | -1.8287 | -0.43336 | -0.13612 | -1.8287 | -0.43378 | -0.1365 | -1.8287 | -0.43357 | -0.13631 | -0.39348 | -0.42052 | -0.32708 | -0.46433 | -0.53618 | -0.4174 | -0.42891 | -0.47835 | -0.37224
11 | -0.96829 | -0.51966 | -0.33216 | -1.4538 | -0.79225 | -0.49936 | -1.211 | -0.65596 | -0.41576 | -1.796 | -0.42515 | -0.13379 | -1.8296 | -0.43383 | -0.13651 | -1.8128 | -0.42949 | -0.13515 | -0.35877 | -0.36322 | -0.28244 | -0.46486 | -0.53635 | -0.41756 | -0.41182 | -0.44978 | -0.35
12 | -0.88559 | -0.47169 | -0.30243 | -1.459 | -0.79358 | -0.49989 | -1.1723 | -0.63263 | -0.40116 | -1.639 | -0.38439 | -0.12096 | -1.8303 | -0.43387 | -0.13652 | -1.7347 | -0.40913 | -0.12874 | -0.33992 | -0.33183 | -0.25802 | -0.46538 | -0.5365 | -0.41771 | -0.40265 | -0.43417 | -0.33786
13 | -0.92084 | -0.48987 | -0.31327 | -1.4685 | -0.7974 | -0.50194 | -1.1947 | -0.64364 | -0.40761 | -1.6998 | -0.39995 | -0.12584 | -1.8311 | -0.43391 | -0.13652 | -1.7654 | -0.41693 | -0.13118 | -0.34703 | -0.34271 | -0.26652 | -0.46686 | -0.53823 | -0.41911 | -0.40695 | -0.44047 | -0.34281
14 | -0.96874 | -0.516 | -0.32916 | -1.4767 | -0.8012 | -0.50412 | -1.2227 | -0.6586 | -0.41664 | -1.7871 | -0.42245 | -0.13292 | -1.8314 | -0.43392 | -0.13652 | -1.8092 | -0.42819 | -0.13472 | -0.35734 | -0.35914 | -0.27933 | -0.46833 | -0.54027 | -0.42072 | -0.41283 | -0.4497 | -0.35002
15 | -1.1144 | -0.59426 | -0.37648 | -1.5027 | -0.81232 | -0.5103 | -1.3085 | -0.70329 | -0.44339 | -1.8328 | -0.43359 | -0.13619 | -1.8328 | -0.43394 | -0.13651 | -1.8328 | -0.43376 | -0.13635 | -0.38791 | -0.40747 | -0.31706 | -0.47261 | -0.54579 | -0.42511 | -0.43026 | -0.47663 | -0.37108
16 | -1.3231 | -0.70137 | -0.4403 | -1.5657 | -0.83772 | -0.52402 | -1.4444 | -0.76955 | -0.48216 | -1.8349 | -0.43351 | -0.13633 | -1.8349 | -0.4335 | -0.13632 | -1.8349 | -0.4335 | -0.13632 | -0.42887 | -0.47092 | -0.36687 | -0.4817 | -0.55724 | -0.43438 | -0.45529 | -0.51408 | -0.40062
17 | -1.5572 | -0.81657 | -0.50789 | -1.6645 | -0.87688 | -0.54495 | -1.6108 | -0.84672 | -0.52642 | -1.8353 | -0.43216 | -0.13582 | -1.8353 | -0.43216 | -0.13582 | -1.8353 | -0.43216 | -0.13582 | -0.47434 | -0.53692 | -0.41868 | -0.50406 | -0.5767 | -0.44907 | -0.4892 | -0.55681 | -0.43387
18 | -1.6814 | -0.87944 | -0.54518 | -1.7048 | -0.89261 | -0.55328 | -1.6931 | -0.88603 | -0.54923 | -1.8343 | -0.4313 | -0.13552 | -1.8343 | -0.4313 | -0.13552 | -1.8343 | -0.4313 | -0.13552 | -0.52377 | -0.58015 | -0.44965 | -0.53024 | -0.58883 | -0.45629 | -0.52701 | -0.58449 | -0.45297
19 | -1.6914 | -0.88709 | -0.55028 | -1.693 | -0.88803 | -0.55085 | -1.6922 | -0.88756 | -0.55056 | -1.8347 | -0.43157 | -0.13561 | -1.8347 | -0.43157 | -0.13561 | -1.8347 | -0.43157 | -0.13561 | -0.52212 | -0.58468 | -0.45371 | -0.52258 | -0.5853 | -0.45418 | -0.52235 | -0.58499 | -0.45395
20 | -1.6556 | -0.8734 | -0.5431 | -1.6556 | -0.8734 | -0.5431 | -1.6556 | -0.8734 | -0.5431 | -1.8355 | -0.43233 | -0.13588 | -1.8355 | -0.43233 | -0.13588 | -1.8355 | -0.43233 | -0.13588 | -0.49831 | -0.57402 | -0.44747 | -0.49831 | -0.57402 | -0.44747 | -0.49831 | -0.57402 | -0.44747
21 | -1.5759 | -0.84203 | -0.52639 | -1.5759 | -0.84203 | -0.52639 | -1.5759 | -0.84203 | -0.52639 | -1.8351 | -0.43342 | -0.13629 | -1.8351 | -0.43342 | -0.13629 | -1.8351 | -0.43342 | -0.13629 | -0.48333 | -0.55932 | -0.43605 | -0.48333 | -0.55932 | -0.43605 | -0.48333 | -0.55932 | -0.43605
22 | -1.4215 | -0.78024 | -0.49313 | -1.4215 | -0.78024 | -0.49313 | -1.4215 | -0.78024 | -0.49313 | -1.826 | -0.43355 | -0.13645 | -1.826 | -0.43355 | -0.13645 | -1.826 | -0.43355 | -0.13645 | -0.46016 | -0.53143 | -0.41357 | -0.46016 | -0.53143 | -0.41357 | -0.46016 | -0.53143 | -0.41357
23 | -1.2432 | -0.70721 | -0.45325 | -1.2432 | -0.70721 | -0.45325 | -1.2432 | -0.70721 | -0.45325 | -1.7988 | -0.42957 | -0.13535 | -1.7988 | -0.42957 | -0.13535 | -1.7988 | -0.42957 | -0.13535 | -0.43095 | -0.49703 | -0.38604 | -0.43095 | -0.49703 | -0.38604 | -0.43095 | -0.49703 | -0.38604
24 | -1.14 | -0.65792 | -0.42361 | -1.14 | -0.65792 | -0.42361 | -1.14 | -0.65792 | -0.42361 | -1.7635 | -0.42301 | -0.13341 | -1.7635 | -0.42301 | -0.13341 | -1.7635 | -0.42301 | -0.13341 | -0.40619 | -0.46785 | -0.36277 | -0.40619 | -0.46785 | -0.36277 | -0.40619 | -0.46785 | -0.36277

## IEEE 14-bus % reduction data
Situation | Two small, 1 medium PV - SUNNY |  |  | Two small, 1 medium PV - CLOUDY |  |  | Two small, 1 medium PV - AVG |  |  |  | One large PV - SUNNY |  |  | One large PV - CLOUDY |  |  | One large PV - AVG |  |  | Three small PVs - SUNNY |  |  | Three small PVs - Cloudy |  |  | Three small PVs - AVG |  | Overall Average
| % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction |  |  | % Reduction
hour | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14 | Bus 4 | Bus 9 | Bus 14
1 | -2.962% | -2.771% | -3.529% | -2.962% | -2.771% | -3.529% | -2.962% | -2.771% | -3.529% | -4.702% | -1.831% | -1.142% | -4.702% | -1.831% | -1.142% | -4.702% | -1.831% | -1.142% | -1.057% | -1.971% | -3.022% | -1.057% | -1.971% | -3.022% | -1.057% | -1.971% | -3.022% | -2.907% | -2.191% | -2.564%
2 | -2.959% | -2.77% | -3.527% | -2.959% | -2.77% | -3.527% | -2.959% | -2.77% | -3.527% | -4.769% | -1.861% | -1.162% | -4.769% | -1.861% | -1.162% | -4.769% | -1.861% | -1.162% | -1.055% | -1.97% | -3.019% | -1.055% | -1.97% | -3.019% | -1.055% | -1.97% | -3.019% | -2.928% | -2.2% | -2.569%
3 | -2.947% | -2.765% | -3.523% | -2.947% | -2.765% | -3.523% | -2.947% | -2.765% | -3.523% | -4.796% | -1.873% | -1.17% | -4.796% | -1.873% | -1.17% | -4.796% | -1.873% | -1.17% | -1.045% | -1.965% | -3.015% | -1.045% | -1.965% | -3.015% | -1.045% | -1.965% | -3.015% | -2.929% | -2.201% | -2.569%
4 | -2.946% | -2.765% | -3.522% | -2.946% | -2.765% | -3.522% | -2.946% | -2.765% | -3.522% | -4.798% | -1.874% | -1.171% | -4.798% | -1.874% | -1.171% | -4.798% | -1.874% | -1.171% | -1.044% | -1.965% | -3.014% | -1.044% | -1.965% | -3.014% | -1.044% | -1.965% | -3.014% | -2.929% | -2.201% | -2.569%
5 | -2.96% | -2.77% | -3.528% | -2.96% | -2.77% | -3.528% | -2.96% | -2.77% | -3.528% | -4.755% | -1.855% | -1.158% | -4.755% | -1.855% | -1.158% | -4.755% | -1.855% | -1.158% | -1.057% | -1.97% | -3.02% | -1.057% | -1.97% | -3.02% | -1.057% | -1.97% | -3.02% | -2.924% | -2.198% | -2.568%
6 | -2.963% | -2.771% | -3.532% | -2.963% | -2.771% | -3.532% | -2.963% | -2.771% | -3.532% | -4.606% | -1.791% | -1.119% | -4.606% | -1.791% | -1.119% | -4.606% | -1.791% | -1.119% | -1.056% | -1.971% | -3.025% | -1.056% | -1.971% | -3.025% | -1.056% | -1.971% | -3.025% | -2.875% | -2.178% | -2.559%
7 | -3.064% | -2.81% | -3.56% | -3.071% | -2.817% | -3.567% | -3.067% | -2.814% | -3.563% | -4.374% | -1.691% | -1.055% | -4.374% | -1.691% | -1.055% | -4.374% | -1.691% | -1.055% | -1.053% | -1.967% | -3.026% | -1.055% | -1.971% | -3.032% | -1.054% | -1.969% | -3.029% | -2.832% | -2.158% | -2.549%
8 | -3.128% | -2.793% | -3.505% | -3.225% | -2.882% | -3.613% | -3.176% | -2.837% | -3.559% | -4.211% | -1.621% | -1.01% | -4.211% | -1.621% | -1.01% | -4.211% | -1.621% | -1.01% | -1.032% | -1.915% | -2.949% | -1.053% | -1.971% | -3.036% | -1.043% | -1.943% | -2.993% | -2.81% | -2.134% | -2.521%
9 | -2.9% | -2.564% | -3.217% | -3.269% | -2.9% | -3.626% | -3.085% | -2.732% | -3.422% | -4.164% | -1.601% | -0.9977% | -4.164% | -1.601% | -0.9977% | -4.164% | -1.601% | -0.9977% | -0.9729% | -1.758% | -2.708% | -1.053% | -1.971% | -3.038% | -1.013% | -1.865% | -2.873% | -2.754% | -2.066% | -2.431%
10 | -2.548% | -2.235% | -2.814% | -3.283% | -2.905% | -3.627% | -2.916% | -2.57% | -3.22% | -4.145% | -1.592% | -0.9898% | -4.145% | -1.593% | -0.9925% | -4.145% | -1.592% | -0.9912% | -0.8918% | -1.544% | -2.378% | -1.052% | -1.969% | -3.035% | -0.9721% | -1.757% | -2.707% | -2.678% | -1.973% | -2.306%
11 | -2.187% | -1.902% | -2.407% | -3.284% | -2.9% | -3.619% | -2.736% | -2.401% | -3.013% | -4.057% | -1.556% | -0.9696% | -4.133% | -1.588% | -0.9893% | -4.095% | -1.572% | -0.9794% | -0.8105% | -1.33% | -2.047% | -1.05% | -1.963% | -3.026% | -0.9303% | -1.646% | -2.536% | -2.587% | -1.873% | -2.176%
12 | -1.994% | -1.721% | -2.184% | -3.285% | -2.895% | -3.611% | -2.639% | -2.308% | -2.897% | -3.69% | -1.402% | -0.8736% | -4.121% | -1.583% | -0.986% | -3.906% | -1.493% | -0.9298% | -0.7653% | -1.211% | -1.864% | -1.048% | -1.957% | -3.017% | -0.9066% | -1.584% | -2.44% | -2.484% | -1.795% | -2.089%
13 | -2.067% | -1.781% | -2.255% | -3.296% | -2.9% | -3.614% | -2.681% | -2.341% | -2.935% | -3.815% | -1.454% | -0.906% | -4.109% | -1.578% | -0.9829% | -3.962% | -1.516% | -0.9444% | -0.7788% | -1.246% | -1.919% | -1.048% | -1.957% | -3.017% | -0.9133% | -1.602% | -2.468% | -2.519% | -1.819% | -2.116%
14 | -2.17% | -1.873% | -2.366% | -3.308% | -2.908% | -3.623% | -2.739% | -2.391% | -2.994% | -4.004% | -1.534% | -0.9553% | -4.103% | -1.575% | -0.9812% | -4.053% | -1.554% | -0.9682% | -0.8006% | -1.304% | -2.008% | -1.049% | -1.961% | -3.024% | -0.9249% | -1.632% | -2.516% | -2.573% | -1.859% | -2.159%
15 | -2.479% | -2.142% | -2.687% | -3.343% | -2.928% | -3.642% | -2.911% | -2.535% | -3.164% | -4.077% | -1.563% | -0.972% | -4.077% | -1.564% | -0.9742% | -4.077% | -1.564% | -0.9731% | -0.863% | -1.469% | -2.263% | -1.051% | -1.967% | -3.034% | -0.9572% | -1.718% | -2.648% | -2.649% | -1.939% | -2.262%
16 | -2.885% | -2.478% | -3.08% | -3.414% | -2.96% | -3.666% | -3.15% | -2.719% | -3.373% | -4.001% | -1.532% | -0.9537% | -4.001% | -1.532% | -0.9536% | -4.001% | -1.532% | -0.9536% | -0.9352% | -1.664% | -2.566% | -1.05% | -1.969% | -3.039% | -0.9928% | -1.816% | -2.803% | -2.714% | -2.022% | -2.376%
17 | -3.296% | -2.801% | -3.449% | -3.523% | -3.008% | -3.701% | -3.41% | -2.904% | -3.575% | -3.885% | -1.482% | -0.9223% | -3.885% | -1.482% | -0.9223% | -3.885% | -1.482% | -0.9223% | -1.004% | -1.842% | -2.843% | -1.067% | -1.978% | -3.05% | -1.036% | -1.91% | -2.946% | -2.777% | -2.099% | -2.481%
18 | -3.518% | -2.981% | -3.659% | -3.567% | -3.026% | -3.713% | -3.542% | -3.003% | -3.686% | -3.837% | -1.462% | -0.9095% | -3.837% | -1.462% | -0.9095% | -3.837% | -1.462% | -0.9095% | -1.096% | -1.967% | -3.018% | -1.109% | -1.996% | -3.062% | -1.103% | -1.981% | -3.04% | -2.827% | -2.149% | -2.545%
19 | -3.55% | -3.017% | -3.706% | -3.554% | -3.021% | -3.71% | -3.552% | -3.019% | -3.708% | -3.851% | -1.468% | -0.9132% | -3.851% | -1.468% | -0.9132% | -3.851% | -1.468% | -0.9132% | -1.096% | -1.989% | -3.055% | -1.097% | -1.991% | -3.059% | -1.097% | -1.99% | -3.057% | -2.833% | -2.159% | -2.559%
20 | -3.514% | -3.004% | -3.698% | -3.514% | -3.004% | -3.698% | -3.514% | -3.004% | -3.698% | -3.896% | -1.487% | -0.9252% | -3.896% | -1.487% | -0.9252% | -3.896% | -1.487% | -0.9252% | -1.058% | -1.974% | -3.047% | -1.058% | -1.974% | -3.047% | -1.058% | -1.974% | -3.047% | -2.822% | -2.155% | -2.557%
21 | -3.427% | -2.967% | -3.672% | -3.427% | -2.967% | -3.672% | -3.427% | -2.967% | -3.672% | -3.991% | -1.527% | -0.9508% | -3.991% | -1.527% | -0.9508% | -3.991% | -1.527% | -0.9508% | -1.051% | -1.971% | -3.042% | -1.051% | -1.971% | -3.042% | -1.051% | -1.971% | -3.042% | -2.823% | -2.155% | -2.555%
22 | -3.254% | -2.894% | -3.621% | -3.254% | -2.894% | -3.621% | -3.254% | -2.894% | -3.621% | -4.18% | -1.608% | -1.002% | -4.18% | -1.608% | -1.002% | -4.18% | -1.608% | -1.002% | -1.053% | -1.971% | -3.037% | -1.053% | -1.971% | -3.037% | -1.053% | -1.971% | -3.037% | -2.829% | -2.158% | -2.554%
23 | -3.043% | -2.805% | -3.559% | -3.043% | -2.805% | -3.559% | -3.043% | -2.805% | -3.559% | -4.403% | -1.704% | -1.063% | -4.403% | -1.704% | -1.063% | -4.403% | -1.704% | -1.063% | -1.055% | -1.971% | -3.031% | -1.055% | -1.971% | -3.031% | -1.055% | -1.971% | -3.031% | -2.834% | -2.16% | -2.551%
24 | -2.964% | -2.772% | -3.533% | -2.964% | -2.772% | -3.533% | -2.964% | -2.772% | -3.533% | -4.585% | -1.782% | -1.113% | -4.585% | -1.782% | -1.113% | -4.585% | -1.782% | -1.113% | -1.056% | -1.971% | -3.026% | -1.056% | -1.971% | -3.026% | -1.056% | -1.971% | -3.026% | -2.868% | -2.175% | -2.557%
[27 empty] | Average | -2.779% | -2.084% | -2.448% | -2.437%
| Avg for 2 small + 1 med combo |  |  | 4% | 9% | 14%
| -3.077% |  |  | -3.064% | -2.734% | -3.43% | [11 empty] | -1.022% | -1.878% | -2.89%